## Slide 1: TNMP REP Meeting
Chris Gerety
Vice President – Tech Svc and System Reliability

## Slide 2: Tech Svc and Sys Reliability
Distribution Engineering
System Engineering
  Transmission Engineering/PM/Construction
  Transmission Planning
  Substation Eng/PM/Construction/Field Operation
  System Protection Eng/PM/Const/Field Operation
  Metering Eng/PM/Field Operations
System Operations
  Real Time Operations – T&D
  Field Telecommunications Eng/PM/Const/Field Operations

## Slide 3: Tech Svc and Sys Reliability
Distribution Engineering
  New Service Portal – Power Clerk
  DGR
    21 In-service
    9 in Construction
    6 in Study
  GIS
    Modern Platform to make work more productive and reduce database errors
Customer Requests | Q2 2024 | Q1 2024 | Q4 2023 | Q3 2023 | Q2 2023 | Q1 2023 | Q4 2022 | Q3 2022 | Q2 2022 | Q1 2022
West Texas | 116 | 105 | 63 | 88 | 86 | 102 | 84 | 78 | 96 | 120
Total Texas | 623 | 579 | 475 | 570 | 549 | 507 | 376 | 468 | 228 | 195

## Slide 4: Resiliency Plan
System Hardening
  Hardened above ground
  Undergrounding
  Flood Prevention
System Modernization
  Substation Relays
  Scada connected reclosers
  Trip Savers
VM
  Cycle Based
Wildfire
  Asset Protection/Situational Awareness/Ignition Prevention
Cyber Security/Physical Security

## Slide 5: Tech Svc and Sys Reliability
System Engineering – Permian Basin Project

## Slide 6: Tech Svc and Sys Reliability
System Engineering – Silverleaf/Cowpen Project

## Slide 7: Tech Svc and Sys Reliability
System Engineering – Pecos County Project

## Slide 8: Tech Svc and Sys Reliability
AMI Updates – RIVA Gen 5 – RF Mesh Network
  Installations by Year
    2022 ~195K
    2023 ~30K
    2024 ~10K
    2025 ~10K
    2026 ~15K
    2027 ~15K
  Mesh Network Design
    Full system design complete
    Allows for replacement of any meter with a mesh meter
    RIVA Cell based meter pending

## Slide 9: System Operation
Control Center Refresh

## Slide 10: System Operation
Field Area Network