## Slide 1: Emergency Preparedness & Response
What’s happened since Hurricane Beryl
Keith Nix, P.E.
Vice President - Operations

## Slide 2: Everyone wants to know....
          Do I have Beryl PTSD?? YES!!!!
          What have we done since to help me?
          What can I share to help you?
            What reviews/changes have been made for TNMP’s Emergency Preparedness & Response that is relevant to you and our customers?

## Slide 3: What did we do since?
          After Action Assessment Report completed 11/2024
            Done by outside firm with utility experience driven by formal interviews with TNMP personnel, review of actual event data and response times for additional personnel
          Resulted in recommendations ranging from updated Emergency Operations Plans, structural/functional changes and roles/responsibilities changes for employees
          Resource evaluations (internal and external) performed for the event
          Communications strategy changes

## Slide 4: What did we do since?
          Emergency Operations Plan Changes
            Completely revamped EOP’s to conform with FEMA governance structure for clarity and communications/command and control
          Plans were re-filed with the PUCT and incorporate required changes from PUCT and legislative actions
          Plans are still regionally based to keep specific customers/areas in focus but retain the same baseline structure

## Slide 5: What did we do since?
          Resource Acquisition prior to or immediately following the storm or other events
            Contracted with large nationwide contractor to provide “Quick Reaction Force” type support immediately prior to or following storm events
          Can be tailored to TNMP needs and can be self-reliant or imbedded with TNMP crews
          Helps with first response and can be pre-staged well ahead of known events so that we have the proper initial “boots on the ground” as quickly as possible
          Working to leverage technology as much as possible

## Slide 6: Big change....Vegetation Management
          Have moved Vegetation Management into TNMP from a corporate function as part of System Resiliency Plan
          Expanded the amount of FTE’s in department from 3 to 15 which includes Analysts, Specialists and experienced supervision
          Will be transitioning to a “cycle based” approach to VM versus more of a “reactive” approach
          Vegetation was the main cause during both Hurricane Beryl and North Texas wind events in 2024 timeframe as a reminder!!

## Slide 7: Other Changes
          Integrating systems to Outage Management System (OMS) for quicker response times
          Continuous improvement in communications strategies and ways to reach out to TNMP (think social media/customer call centers)
          Weather monitoring upgrades are coming with SRP in some areas
          Better storm awareness and willingness to execute on upcoming events
          SUMMARY – will my PTSD ever go away?? NOT LIKELY!!!

## Slide 8: Questions?